## Slide 1: BG Distribution Training Centre
Electrified Hardware 1

## Slide 2: Electrified Hardware System Components
Required Components
  Load
  Power
  Switch
  Conductor
Optional Components
  Monitor
www.bgdistribution.ca

## Slide 3: Power
Power Source for the System
  Power Supply
  Transformer
  Battery
www.bgdistribution.ca

## Slide 4: Conductor
Wire Run
  Wire
  Door Loop
  Electric Hinge
  Power Transfer Device
  Electric Pivot
  Electric Continuous Hinge
www.bgdistribution.ca

## Slide 5: Switch
Control for the System
  Card Access
  Keypad
  Motion Sensor
  Key Switch
  Pushbutton
  Request to Exit Signal
  Timer
  etc.
www.bgdistribution.ca

## Slide 6: Load
Electric Locking Devices
  Electric Strike
  Electrified lock
  Electrified Exit Device
  Electromagnetic Lock
  Electromechanical Lock
  Automatic Operator
www.bgdistribution.ca

## Slide 7: Switch Operating Modes
Momentary
  When pressed closes two contacts, when pressure removed opens two contacts
Maintained/Alternate Action
  When pressed closes two contacts, when pressed again opens two contacts
Time Delay
  When pressed closes two contacts for a period of time, then opens two contacts
www.bgdistribution.ca

## Slide 8: Switch Terminology
Relay
  An electrically controlled device that opens and closes electrical contacts to effect the operation od other devices in the same or another electric
    Timer
    Card Reader
    Fire Alarm Relay
www.bgdistribution.ca

## Slide 9
www.bgdistribution.ca

## Slide 10
www.bgdistribution.ca

## Slide 11: Relay Parts
www.bgdistribution.ca
Contacts
Negative (-)
Contacts
Positive (+)

## Slide 12: Electric Wiring
www.bgdistribution.ca
Size
  Gauge
    AWG – American Wire Gauge

## Slide 13
www.bgdistribution.ca
Wire Gauge
  The larger the number the smaller the wire

## Slide 14: Switch Terminology
Diodes
  Used for Spike Suppression
  Electricity can only flow in one direction
  4 Diodes make a rectifier
www.bgdistribution.ca

## Slide 15
Rectifiers
  Converts alternating current to direct current
www.bgdistribution.ca

## Slide 16: Volt Ohm Meter
Using Volt-Ohm Meters
  V.O.M is the most important tool when it comes to troubleshooting
  V.O.M can test for
    Voltage- AC/DC
    Shorts/Closed Circuits
    Open Circuits
    Ohms
    Grounds
www.bgdistribution.ca

## Slide 17: Volt Ohm Meter
VOM Testing for voltage
www.bgdistribution.ca

## Slide 18: Volt Ohm Meter
VOM Testing for continuity
www.bgdistribution.ca

## Slide 19: Volt Ohm Meter
VOM Testing for current
www.bgdistribution.ca

## Slide 20: Training Courses
We offer the following training courses:
  Mechanical Hardware 1
  Basic Electrical Hardware 1
  Mechanical Hardware 2
  Electrical Hardware/Access Control 2
www.bgdistribution.ca

## Slide 21: QUESTIONS
www.bgdistribution.ca
Ottawa (ON) 21-5370 Canotek Rd K1J 9E8 T: [613]748-7377 ¦ 1 [888]607-0585 F: [613]748-0015 | Montréal (QC) 4500 rue Molson H1Y 0A3 T: [514]392-2555 ¦ 1[888]819-2602 F: [514]392-1623 ¦ 1[888]357-3820 | Québec (QC) 125 rue Fortin G1M 3M2 T: [418]682-5550 ¦ 1[866]563-6785 F: [418]682-5522 ¦ 1[866]563-6786 | Toronto (ON) 115 Sharer Road, #2 L4L 8Z3 T: [905]265-9449 ¦ 1[855]488-5625 F: [905]265-1097 ¦ 1[855]488-9700